## Slide 1
Fan Automation
Intelligent Industrial & Smart Home Control Systems
Codez48 Pilot Acceptance Suite

## Slide 2
Introduction to Fan Automation
• Automated fan control optimizes energy efficiency and airflow.
• Integrates temperature, humidity, and air quality sensor feedback.
• Reduces operating costs and equipment mechanical wear.

## Slide 3
System Architecture & Key Components
• Central Controller (Microcontroller / PLC)
• Environmental Sensors (DHT22, BME280, VOC/CO2)
• Actuators: Variable Frequency Drive (VFD) & Pulse Width Modulator (PWM)
• Power Supply & Solid State Relay (SSR)

## Slide 4
Operating Principles & PWM Speed Control
• Duty cycle modulation adjusts fan RPM dynamically.
• Microcontroller computes thermal delta relative to target setpoint.
• Continuous proportional control suppresses acoustic motor noise.

## Slide 5
Environmental Thresholds & Triggers
• Low Temp (< 22°C): Fan Standby / Off
• Nominal Temp (22°C - 30°C): 30% - 70% Speed Linear Ramp
• High Temp (> 30°C): 100% Maximum Airflow Boost
• CO2 Threshold (> 1000 ppm): Emergency Ventilation Override

## Slide 6
Automation Workflow & Closed-Loop Control
1. Sensor Telemetry Acquisition -> 2. Delta Signal Processing
3. PID Loop Calculation -> 4. PWM Duty Cycle Output Signal
5. Fan Tachometer Feedback Inspection & Closed-Loop Adjustment

## Slide 7
Industrial & Commercial Applications
• Data Center Server Rack Thermal Management
• Commercial HVAC VAV Building Ventilation
• Automotive Engine Cooling & Battery Thermal Conditioning
• Residential Smart Home Climate Automation

## Slide 8
Key Energy & Performance Benefits
• Up to 40% reduction in HVAC electrical power consumption.
• Prolonged motor bearing lifecycle due to soft-starting.
• Acoustic noise reduction during off-peak thermal periods.

## Slide 9
Safety Mechanisms & Fault Detection
• Thermal Overload Cutoff Fuse
• Rotor Lock & Stall Detection Feedback
• Reverse Polarity & Surge Suppressor Circuitry
• Fail-Safe Default: 100% Speed on Sensor Loss

## Slide 10
Conclusion & Future Outlook
• Fan automation provides energy efficiency, safety, and acoustic comfort.
• Future integration with IoT edge AI models enables predictive maintenance.
• Essential technology for modern sustainable building infrastructure.